## Airglow
Field name	Short description	Description	Unit
BUFFER_SWITCH_TIME_SPR	Buffer Switch Time (SPR)	When the mode is changed, all instruments keep observation, then dump the data from buffers to the mass memory. The uncorrected timestampe marks the end of the readout from the imager.	cdf epoch
BUFFER_SWITCH_TIME_SPF	Buffer Switch Time (SPF)	When the mode is changed, all instruments keep observation, then dump the data to the mass memory. The timestampe marks the end of the readout from the spectrophotometer.	cdf epoch
BUFFER_SWITCH_TIME_APS	Buffer Switch Time (APS)	When the mode is changed, all instruments keep observation, then dump the data to the mass memory. The timestampe marks the end of the readout from the array photometer.	cdf epoch
EXPOSURE_TIME0	1st Exposure Time	The beginning of the exportsure of the 1st image. Uncorrected.	cdf epoch

C_BUFFER_SWITCH_TIME_SPR	Corrected Buffer Switch Time (SPR)	When the mode is changed, all instruments keep observation, then dump the data from buffers to the mass memory. The corrected timestampe marks the end of the readout from the imager.	cdf epoch
C_BUFFER_SWITCH_TIME_SPF	Corrected Buffer Switch Time (SPF)	When the mode is changed, all instruments keep observation, then dump the data to the mass memory. The corrected timestampe marks the end of the readout from the spectrophotometer.	cdf epoch
C_BUFFER_SWITCH_TIME_APS	Corrected Buffer Switch Time (APS)	When the mode is changed, all instruments keep observation, then dump the data to the mass memory. The corrected timestampe marks the end of the readout from the array photometer.	cdf epoch
C_EXPOSURE_TIME0	Corrected 1st Exposure Time	The beginning of the exportsure of the 1st image. corrected.	cdf epoch

EPOCH	EPOCH data	timestamp of the original data generation	cdf epoch
SCIENCE_MODE	ISUAL Operation Mode	ISUAL operation mode, 1: airglow mode, 2: cont. mode, 3:burst mode, 4:daylight mode, 5:standby
DAY_SENSOR_STATUS	Day Sensor status	The status byte of the day sensor

TPA1_TIME	Timestamp in 1st TPA packet	The timestamp of the first TPA (time-position-altitude) packet, the nearest TPA packets before and after trigger time will be recorded.	cdf epoch
TPA1_XPOS	X position in 1st TPA packet	X position of the satellite in ECF coordinate recorded in TPA1 packet	meter
TPA1_YPOS	Y position in 1st TPA packet	Y position of the satellite in ECF coordinate recorded in TPA1 packet	meter
TPA1_ZPOS	Z position in 1st TPA packet	Z position of the satellite in ECF coordinate recorded in TPA1 packet	meter
TPA1_XV	X velocity in 1st TPA packet	X component of the satellite velocity in ECF coordinate recorded in TPA1 packet	m/s
TPA1_YV	Y velocity in 1st TPA packet	Y component of the satellite velocity in ECF coordinate recorded in TPA1 packet	m/s
TPA1_ZV	Z velocity in 1st TPA packet	Z component of the satellite velocity in ECF coordinate recorded in TPA1 packet	m/s
TPA1_Q1	S/C Quaternion 1 in 1st TPA packet	Q1 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA1_Q2	S/C Quaternion 2 in 1st TPA packet	Q2 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA1_Q3	S/C Quaternion 3 in 1st TPA packet	Q3 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA1_Q4	S/C Quaternion 4 in 1st TPA packet	Q4 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA2_TIME	Timestamp in 2nd TPA packet	The timestamp of the first TPA (time-position-altitude) packet, the nearest TPA packets before and after trigger time will be recorded.	cdf epoch
TPA2_XPOS	X position in 2nd TPA packet	X position of the satellite in ECF coordinate recorded in TPA2 packet	meter
TPA2_YPOS	Y position in 2nd TPA packet	Y position of the satellite in ECF coordinate recorded in TPA2 packet	meter
TPA2_ZPOS	Z position in 2nd TPA packet	Z position of the satellite in ECF coordinate recorded in TPA2 packet	meter
TPA2_XV	X velocity in 2nd TPA packet	X component of the satellite velocity in ECF coordinate recorded in TPA2 packet	m/s
TPA2_YV	Y velocity in 2nd TPA packet	Y component of the satellite velocity in ECF coordinate recorded in TPA2 packet	m/s
TPA2_ZV	Z velocity in 2nd TPA packet	Z component of the satellite velocity in ECF coordinate recorded in TPA2 packet	m/s
TPA2_Q1	S/C Quaternion 1 in 2nd TPA packet	Q1 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
TPA2_Q2	S/C Quaternion 2 in 2nd TPA packet	Q2 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
TPA2_Q3	S/C Quaternion 3 in 2nd TPA packet	Q3 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
TPA2_Q4	S/C Quaternion 4 in 2nd TPA packet	Q4 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
SOURCE_RECORD	The source record of the level-1 data	The source record ID of the Level-1 data: the datecode, record numbers of the corresponding spr, spf, aps dataset respectively.
IMAGE_WIDTH	Image width	The width (horizontal direction) of the intensified imager	pixel
IMAGE_HEIGHT	image hight	The height (vertical direction) of the intensified imager	pixel
FOLLOW_ON	Follow-on recording flag	A flag(=1) indicating this data is a follow-on recording i.e. a transient is detected during the readout of the previous trigger.
EXPOSURE_DURATION	Exposure duration	Exposure duration of a single imager frame	millisecond

EXPOSURE_INTERVAL	Exposure interval	Exposure interval between succesive imager frames. This setting is only valid in cont. & burst mode	millisecond

EXPOSURE_INTERVAL_AFTER	Interval between exposures after image storage starts	In cont. or burst mode, for non-zero values of this field, the photocathode gating is "blanked" by that period of time after an event is detected	millisecond

FILTER_CODE	filter used by imager	filter used by imager, 1: 623~750nm(N2-1P), 2:762nm, 3:630nm, 4: 557.7nm, 5: 427.8nm, 6: open
MCP_HV	High voltage setting of the MCP used by imager	High voltage setting used by MCP (micro-channel plate), this setting is directly associated with the gain of the image intensification	volt
PHOSPHOR_HV	High voltage setting of the phosphor used by imager	High voltage setting used by phosphor, this setting is directly associated with the brigrtness of the phosphor screen and image background	volt
LENS_T	Imager Lens Temperature	Temp. of the imager lens	℃
FW_T	Imager Filter Wheel Temperature	Temp. of the filter wheel used by imager	℃
II_HV_T	Imager Intensifier HVPS Temperature	Imager Intensifier High-Voltage Power Supply (HVPS) Temperature	℃
PHOS_HV_T	Imager Phosphor HVPS Temperature	Imager Phosphor High-Voltage Power Supply (HVPS) Temperature	℃
CCD_T	CCD Temperature	Temp. of the imager CCD chip	℃
IMG0	[Sci. data]The 1st frame recorded by imager	The 1st frame recorded by imager, this frame is corrected on left/right bias, and column readout shift	count
SPF_NSAMPLES	SP N samples/readout	number of the total readout SP sampling, sampling rate is fixed at 10 khz	samples
SPF_NPOST	SP N post trigger samples	number of the SP sampling after trigger, sampling rate is fixed at 10 khz	samples
HV1	SP photometer 1 high-voltage setting	the high-voltage setting of the SP photometer 1(150-280nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
HV2	SP photometer 2 high-voltage setting	the high-voltage setting of the SP photometer 2(337.0nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
HV3	SP photometer 3 high-voltage setting	the high-voltage setting of the SP photometer 3(391.4nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
HV4	SP photometer 4 high-voltage setting	the high-voltage setting of the SP photometer 4(624-750nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
HV5	SP photometer 5 high-voltage setting	the high-voltage setting of the SP photometer 5(777.4nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
HV6	SP photometer 6 high-voltage setting	the high-voltage setting of the SP photometer 6(250-390nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
FILT1TEMP	SP photometer 1 filter Temperature	The filter temp. of the SP photometer 1	℃
FILT2TEMP	SP photometer 2 filter Temperature	The filter temp. of the SP photometer 2	℃
FILT3TEMP	SP photometer 3 filter Temperature	The filter temp. of the SP photometer 3	℃
FILT4TEMP	SP photometer 4 filter Temperature	The filter temp. of the SP photometer 4	℃
FILT5TEMP	SP photometer 5 filter Temperature	The filter temp. of the SP photometer 5	℃
FILT6TEMP	SP photometer 6 filter Temperature	The filter temp. of the SP photometer 6	℃
HVPS1TEMP	SP HVPS 1 Temperature	The temp. of the SP high-voltage power supply 1 (SP1-3)	℃
HVPS2TEMP	SP HVPS 2 Temperature	The temp. of the SP high-voltage power supply 2 (SP4-6)	℃
BODYLEFTTEMP	SP Body Left Temperature	SP Body Left Temperature	℃
BODYRIGHTTEMP	SP Body Right Temperature	SP Body Right Temperature	℃
SPF_CH1	[Sci. data] SP photometer 1 data	the science data of the SP photometer 1(150~280nm), sampling rate: 10 kHz	count
SPF_CH2	[Sci. data] SP photometer 2 data	the science data of the SP photometer 2(337.0nm), sampling rate: 10 kHz	count
SPF_CH3	[Sci. data] SP photometer 3 data	the science data of the SP photometer 3(391.4nm), sampling rate: 10 kHz	count
SPF_CH4	[Sci. data] SP photometer 4 data	the science data of the SP photometer 4(624-750nm), sampling rate: 10 kHz	count
SPF_CH5	[Sci. data] SP photometer 5 data	the science data of the SP photometer 5(777.4nm), sampling rate: 10 kHz	count
SPF_CH6	[Sci. data] SP photometer 6 data	the science data of the SP photometer 6(250-390nm), sampling rate: 10 kHz	count
APS_NSAMPLES	AP N samples/readout	number of the total readout AP sampling, sampling rate is variable and refers to APS_RATE	samples
APS_NPRE	AP N Pre trigger samples	number of the AP sampling before trigger, sampling rate is variable and refers to APS_RATE	samples
APS_NPOST	AP N post trigger samples	number of the AP sampling after trigger, sampling rate is variable and refers to APS_RATE	samples
APS_HV1	AP blue band HV Voltage	the high-voltage setting of the AP blue band (1-16), this setting is equivalent to the gain	volt
APS_HV2	AP red band HV Voltage	the high-voltage setting of the AP red band (17-32), this setting is equivalent to the gain	volt
PM1_T	AP PM1 Room Temp.	The temp. of the AP room 1 (Blue band, Ch. 1-16)	℃
PM2_T	AP PM2 Room Temp	The temp. of the AP room 2 (Red band, Ch. 17-32)	℃
APS_CH1	[Sci. data] AP channel 1 data	AP channel 1 science data (blue band 370-450 nm)	count
APS_CH2	[Sci. data] AP channel 2 data	AP channel 2 science data (blue band 370-450 nm)	count
APS_CH3	[Sci. data] AP channel 3 data	AP channel 3 science data (blue band 370-450 nm)	count
APS_CH4	[Sci. data] AP channel 4 data	AP channel 4 science data (blue band 370-450 nm)	count
APS_CH5	[Sci. data] AP channel 5 data	AP channel 5 science data (blue band 370-450 nm)	count
APS_CH6	[Sci. data] AP channel 6 data	AP channel 6 science data (blue band 370-450 nm)	count
APS_CH7	[Sci. data] AP channel 7 data	AP channel 7 science data (blue band 370-450 nm)	count
APS_CH8	[Sci. data] AP channel 8 data	AP channel 8 science data (blue band 370-450 nm)	count
APS_CH9	[Sci. data] AP channel 9 data	AP channel 9 science data (blue band 370-450 nm)	count
APS_CH10	[Sci. data] AP channel 10 data	AP channel 10 science data (blue band 370-450 nm)	count
APS_CH11	[Sci. data] AP channel 11 data	AP channel 11 science data (blue band 370-450 nm)	count
APS_CH12	[Sci. data] AP channel 12 data	AP channel 12 science data (blue band 370-450 nm)	count
APS_CH13	[Sci. data] AP channel 13 data	AP channel 13 science data (blue band 370-450 nm)	count
APS_CH14	[Sci. data] AP channel 14 data	AP channel 14 science data (blue band 370-450 nm)	count
APS_CH15	[Sci. data] AP channel 15 data	AP channel 15 science data (blue band 370-450 nm)	count
APS_CH16	[Sci. data] AP channel 16 data	AP channel 16 science data (blue band 370-450 nm)	count
APS_CH17	[Sci. data] AP channel 17 data	AP channel 17 science data (red band 530-650 nm)	count
APS_CH18	[Sci. data] AP channel 18 data	AP channel 18 science data (red band 530-650 nm)	count
APS_CH19	[Sci. data] AP channel 19 data	AP channel 19 science data (red band 530-650 nm)	count
APS_CH20	[Sci. data] AP channel 20 data	AP channel 20 science data (red band 530-650 nm)	count
APS_CH21	[Sci. data] AP channel 21 data	AP channel 21 science data (red band 530-650 nm)	count
APS_CH22	[Sci. data] AP channel 22 data	AP channel 22 science data (red band 530-650 nm)	count
APS_CH23	[Sci. data] AP channel 23 data	AP channel 23 science data (red band 530-650 nm)	count
APS_CH24	[Sci. data] AP channel 24 data	AP channel 24 science data (red band 530-650 nm)	count
APS_CH25	[Sci. data] AP channel 25 data	AP channel 25 science data (red band 530-650 nm)	count
APS_CH26	[Sci. data] AP channel 26 data	AP channel 26 science data (red band 530-650 nm)	count
APS_CH27	[Sci. data] AP channel 27 data	AP channel 27 science data (red band 530-650 nm)	count
APS_CH28	[Sci. data] AP channel 28 data	AP channel 28 science data (red band 530-650 nm)	count
APS_CH29	[Sci. data] AP channel 29 data	AP channel 29 science data (red band 530-650 nm)	count
APS_CH30	[Sci. data] AP channel 30 data	AP channel 30 science data (red band 530-650 nm)	count
APS_CH31	[Sci. data] AP channel 31 data	AP channel 31 science data (red band 530-650 nm)	count
APS_CH32	[Sci. data] AP channel 32 data	AP channel 32 science data (red band 530-650 nm)	count
APS_RATE	AP sampling rate code	AP sampling rate at each data point, 0: 200 Hz, 1: 2 kHz, 2: 20 kHz
IMG_AMP_BIAS	Bias difference of images	Bias difference between left and right half of the imager caused a two-channel reaout	count
SAT_LON	Longitude of the FS2 satellite	Longitude of the FS2 satellite, plus for east and minus for west	degree
SAT_LAT	Latitude of the FS2 satellite	Latitude of the FS2 satellite, plus for north and minus for south	degree
SAT_ALT	Altitude of the FS2 satellite	Altitude of the FS2 satellite above sea level	meter
GPS_SHIFT	time shift caused by GPS synchronization	time shift caused by GPS synchronization	millisecond
CLK_SHIFT	time shift caused by clock drift	time shift caused by the drift of the clock crystal oscillator	millisecond
ORB_IDX	orbit number since launch	orbit number since launch	orbit

EPOCH_1	axis for APS_CHx data
EPOCH_2	axis for SPF_CHx data

HEIGHT	y-axis for IMGx data
WIDTH	x-axis for IMGx data

Remark
CDF epoch: the number of milliseconds since 01-Jan-0000 00:00:00.000

## Aurora
Field name	Short description	Description	Unit
BUFFER_SWITCH_TIME_SPR	Buffer Switch Time (SPR)	When the mode is changed, all instruments keep observation, then dump the data from buffers to the mass memory. The uncorrected timestampe marks the end of the readout from the imager.	cdf epoch

C_BUFFER_SWITCH_TIME_SPR	Corrected Buffer Switch Time (SPR)	When the mode is changed, all instruments keep observation, then dump the data from buffers to the mass memory. The corrected timestampe marks the end of the readout from the imager.	cdf epoch

EPOCH	EPOCH data	timestamp of the original data generation	cdf epoch
SCIENCE_MODE	ISUAL Operation Mode	ISUAL operation mode, 1: airglow mode, 2: cont. mode, 3:burst mode, 4:daylight mode, 5:standby
DAY_SENSOR_STATUS	Day Sensor status	The status byte of the day sensor

TPA1_TIME	Timestamp in 1st TPA packet	The timestamp of the first TPA (time-position-altitude) packet, the nearest TPA packets before and after trigger time will be recorded.	cdf epoch
TPA1_XPOS	X position in 1st TPA packet	X position of the satellite in ECF coordinate recorded in TPA1 packet	meter
TPA1_YPOS	Y position in 1st TPA packet	Y position of the satellite in ECF coordinate recorded in TPA1 packet	meter
TPA1_ZPOS	Z position in 1st TPA packet	Z position of the satellite in ECF coordinate recorded in TPA1 packet	meter
TPA1_XV	X velocity in 1st TPA packet	X component of the satellite velocity in ECF coordinate recorded in TPA1 packet	m/s
TPA1_YV	Y velocity in 1st TPA packet	Y component of the satellite velocity in ECF coordinate recorded in TPA1 packet	m/s
TPA1_ZV	Z velocity in 1st TPA packet	Z component of the satellite velocity in ECF coordinate recorded in TPA1 packet	m/s
TPA1_Q1	S/C Quaternion 1 in 1st TPA packet	Q1 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA1_Q2	S/C Quaternion 2 in 1st TPA packet	Q2 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA1_Q3	S/C Quaternion 3 in 1st TPA packet	Q3 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA1_Q4	S/C Quaternion 4 in 1st TPA packet	Q4 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA2_TIME	Timestamp in 2nd TPA packet	The timestamp of the first TPA (time-position-altitude) packet, the nearest TPA packets before and after trigger time will be recorded.	cdf epoch
TPA2_XPOS	X position in 2nd TPA packet	X position of the satellite in ECF coordinate recorded in TPA2 packet	meter
TPA2_YPOS	Y position in 2nd TPA packet	Y position of the satellite in ECF coordinate recorded in TPA2 packet	meter
TPA2_ZPOS	Z position in 2nd TPA packet	Z position of the satellite in ECF coordinate recorded in TPA2 packet	meter
TPA2_XV	X velocity in 2nd TPA packet	X component of the satellite velocity in ECF coordinate recorded in TPA2 packet	m/s
TPA2_YV	Y velocity in 2nd TPA packet	Y component of the satellite velocity in ECF coordinate recorded in TPA2 packet	m/s
TPA2_ZV	Z velocity in 2nd TPA packet	Z component of the satellite velocity in ECF coordinate recorded in TPA2 packet	m/s
TPA2_Q1	S/C Quaternion 1 in 2nd TPA packet	Q1 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
TPA2_Q2	S/C Quaternion 2 in 2nd TPA packet	Q2 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
TPA2_Q3	S/C Quaternion 3 in 2nd TPA packet	Q3 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
TPA2_Q4	S/C Quaternion 4 in 2nd TPA packet	Q4 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
IMAGE_WIDTH	Image width	The width (horizontal direction) of the intensified imager	pixel
IMAGE_HEIGHT	image hight	The height (vertical direction) of the intensified imager	pixel
EXPOSURE_DURATION	Exposure duration	Exposure duration of a single imager frame	millisecond

EXPOSURE_INTERVAL	Exposure interval	Exposure interval between succesive imager frames. This setting is only valid in cont. & burst mode	millisecond

FILTER_CODE	filter used by imager	filter used by imager, 1: 623~750nm(N2-1P), 2:762nm, 3:630nm, 4: 557.7nm, 5: 427.8nm, 6: open
MCP_HV	High voltage setting of the MCP used by imager	High voltage setting used by MCP (micro-channel plate), this setting is directly associated with the gain of the image intensification	volt
PHOSPHOR_HV	High voltage setting of the phosphor used by imager	High voltage setting used by phosphor, this setting is directly associated with the brigrtness of the phosphor screen and image background	volt
LENS_T	Imager Lens Temperature	Temp. of the imager lens	℃
FW_T	Imager Filter Wheel Temperature	Temp. of the filter wheel used by imager	℃
II_HV_T	Imager Intensifier HVPS Temperature	Imager Intensifier High-Voltage Power Supply (HVPS) Temperature	℃
PHOS_HV_T	Imager Phosphor HVPS Temperature	Imager Phosphor High-Voltage Power Supply (HVPS) Temperature	℃
CCD_T	CCD Temperature	Temp. of the imager CCD chip	℃
IMG0	[Sci. data]The 1st frame recorded by imager	The 1st frame recorded by imager, this frame is corrected on left/right bias, and column readout shift	count
IMG_AMP_BIAS	Bias difference of images	Bias difference between left and right half of the imager caused a two-channel reaout	count
SAT_LON	Longitude of the FS2 satellite	Longitude of the FS2 satellite, plus for east and minus for west	degree
SAT_LAT	Latitude of the FS2 satellite	Latitude of the FS2 satellite, plus for north and minus for south	degree
SAT_ALT	Altitude of the FS2 satellite	Altitude of the FS2 satellite above sea level	meter
GPS_SHIFT	time shift caused by GPS synchronization	time shift caused by GPS synchronization	millisecond
CLK_SHIFT	time shift caused by clock drift	time shift caused by the drift of the clock crystal oscillator	millisecond
ORB_IDX	orbit number since launch	orbit number since launch	orbit

HEIGHT	y-axis for IMGx data
WIDTH	x-axis for IMGx data

Remark
CDF epoch: the number of milliseconds since 01-Jan-0000 00:00:00.000

## Lightning
Field name	Short description	Description	Unit
TRIGGER_TIME	Time of trigger Event	ISUAL recorded trigger time (Uncorrected). When the count differences of the selected spectrophotometers exceeds the programmed thresholds, the time is registered as a trigger of a transient.	cdf epoch
BUFFER_SWITCH_TIME_SPR	Buffer Switch Time (SPR)	When an event is triggered, all instruments keep observation, then dump the data from buffers to the mass memory. The uncorrected timestampe marks the end of the readout from the imager.	cdf epoch
BUFFER_SWITCH_TIME_SPF	Buffer Switch Time (SPF)	When an event is triggered, all instruments keep observation, then dump the data to the mass memory. The timestampe marks the end of the readout from the spectrophotometer.	cdf epoch
BUFFER_SWITCH_TIME_APS	Buffer Switch Time (APS)	When an event is triggered, all instruments keep observation, then dump the data to the mass memory. The timestampe marks the end of the readout from the array photometer.	cdf epoch
EXPOSURE_TIME0	1st Exposure Time	The beginning of the exportsure of the 1st image. Uncorrected.	cdf epoch
EXPOSURE_TIME1	2nd Exposure Time	The beginning of the exportsure of the 2nd image. Uncorrected.	cdf epoch
EXPOSURE_TIME2	3rd Exposure Time	The beginning of the exportsure of the 3rd image. Uncorrected.	cdf epoch
EXPOSURE_TIME3	4th Exposure Time	The beginning of the exportsure of the 4th image. Uncorrected.	cdf epoch
EXPOSURE_TIME4	5th Exposure Time	The beginning of the exportsure of the 5th image. Uncorrected.	cdf epoch
EXPOSURE_TIME5	6th Exposure Time	The beginning of the exportsure of the 6th image. Uncorrected.	cdf epoch

C_TRIGGER_TIME	Corrected Time of trigger Event	Corrected ISUAL trigger time. When the count differences of the selected spectrophotometers exceeds the programmed thresholds, the time is registered as a trigger of a transient.	cdf epoch
C_BUFFER_SWITCH_TIME_SPR	Corrected Buffer Switch Time (SPR)	When an event is triggered, all instruments keep observation, then dump the data from buffers to the mass memory. The corrected timestampe marks the end of the readout from the imager.	cdf epoch
C_BUFFER_SWITCH_TIME_SPF	Corrected Buffer Switch Time (SPF)	When an event is triggered, all instruments keep observation, then dump the data to the mass memory. The corrected timestampe marks the end of the readout from the spectrophotometer.	cdf epoch
C_BUFFER_SWITCH_TIME_APS	Corrected Buffer Switch Time (APS)	When an event is triggered, all instruments keep observation, then dump the data to the mass memory. The corrected timestampe marks the end of the readout from the array photometer.	cdf epoch
C_EXPOSURE_TIME0	Corrected 1st Exposure Time	The beginning of the exportsure of the 1st image. corrected.	cdf epoch
C_EXPOSURE_TIME1	Corrected 2nd Exposure Time	The beginning of the exportsure of the 2nd image. corrected.	cdf epoch
C_EXPOSURE_TIME2	Corrected 3rd Exposure Time	The beginning of the exportsure of the 3rd image. corrected.	cdf epoch
C_EXPOSURE_TIME3	Corrected 4th Exposure Time	The beginning of the exportsure of the 4th image. corrected.	cdf epoch
C_EXPOSURE_TIME4	Corrected 5th Exposure Time	The beginning of the exportsure of the 5th image. corrected.	cdf epoch
C_EXPOSURE_TIME5	Corrected 6th Exposure Time	The beginning of the exportsure of the 6th image. corrected.	cdf epoch

EPOCH	EPOCH data	timestamp of the original data generation	cdf epoch
SCIENCE_MODE	ISUAL Operation Mode	ISUAL operation mode, 1: airglow mode, 2: cont. mode, 3:burst mode, 4:daylight mode, 5:standby
DAY_SENSOR_STATUS	Day Sensor status	The status byte of the day sensor

TPA1_TIME	Timestamp in 1st TPA packet	The timestamp of the first TPA (time-position-altitude) packet, the nearest TPA packets before and after trigger time will be recorded.	cdf epoch
TPA1_XPOS	X position in 1st TPA packet	X position of the satellite in ECF coordinate recorded in TPA1 packet	meter
TPA1_YPOS	Y position in 1st TPA packet	Y position of the satellite in ECF coordinate recorded in TPA1 packet	meter
TPA1_ZPOS	Z position in 1st TPA packet	Z position of the satellite in ECF coordinate recorded in TPA1 packet	meter
TPA1_XV	X velocity in 1st TPA packet	X component of the satellite velocity in ECF coordinate recorded in TPA1 packet	m/s
TPA1_YV	Y velocity in 1st TPA packet	Y component of the satellite velocity in ECF coordinate recorded in TPA1 packet	m/s
TPA1_ZV	Z velocity in 1st TPA packet	Z component of the satellite velocity in ECF coordinate recorded in TPA1 packet	m/s
TPA1_Q1	S/C Quaternion 1 in 1st TPA packet	Q1 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA1_Q2	S/C Quaternion 2 in 1st TPA packet	Q2 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA1_Q3	S/C Quaternion 3 in 1st TPA packet	Q3 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA1_Q4	S/C Quaternion 4 in 1st TPA packet	Q4 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA1 packet
TPA2_TIME	Timestamp in 2nd TPA packet	The timestamp of the second TPA (time-position-altitude) packet, the nearest TPA packets before and after trigger time will be recorded.	cdf epoch
TPA2_XPOS	X position in 2nd TPA packet	X position of the satellite in ECF coordinate recorded in TPA2 packet	meter
TPA2_YPOS	Y position in 2nd TPA packet	Y position of the satellite in ECF coordinate recorded in TPA2 packet	meter
TPA2_ZPOS	Z position in 2nd TPA packet	Z position of the satellite in ECF coordinate recorded in TPA2 packet	meter
TPA2_XV	X velocity in 2nd TPA packet	X component of the satellite velocity in ECF coordinate recorded in TPA2 packet	m/s
TPA2_YV	Y velocity in 2nd TPA packet	Y component of the satellite velocity in ECF coordinate recorded in TPA2 packet	m/s
TPA2_ZV	Z velocity in 2nd TPA packet	Z component of the satellite velocity in ECF coordinate recorded in TPA2 packet	m/s
TPA2_Q1	S/C Quaternion 1 in 2nd TPA packet	Q1 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
TPA2_Q2	S/C Quaternion 2 in 2nd TPA packet	Q2 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
TPA2_Q3	S/C Quaternion 3 in 2nd TPA packet	Q3 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
TPA2_Q4	S/C Quaternion 4 in 2nd TPA packet	Q4 component of the satellite attitude repsented in Quaterion under ECF coordinate recorded in TPA2 packet
SOURCE_RECORD	The source record of the level-1 data	The source record ID of the Level-1 data: the datecode, record numbers of the corresponding spr, spf, aps dataset respectively.
IMAGE_WIDTH	Image width	The width (horizontal direction) of the intensified imager	pixel
IMAGE_HEIGHT	image hight	The height (vertical direction) of the intensified imager	pixel
FOLLOW_ON	Follow-on recording flag	A flag(=1) indicating this data is a follow-on recording i.e. a transient is detected during the readout of the previous trigger.
EXPOSURE_DURATION	Exposure duration	Exposure duration of a single imager frame	millisecond

EXPOSURE_INTERVAL	Exposure interval	Exposure interval between succesive imager frames. This setting is only valid in cont. & burst mode	millisecond

EXPOSURE_INTERVAL_AFTER	Interval between exposures after image storage starts	In cont. or burst mode, for non-zero values of this field, the photocathode gating is "blanked" by that period of time after an event is detected	millisecond

N_PRE_TRIGGER_EXPOSURES	N frames stored before trigger	count of frames stored before trigger by transient	frames
N_POST_TRIGGER_EXPOSURES	N frames stored after trigger	count of frames stored after trigger by transient	frames

FILTER_CODE	filter used by imager	filter used by imager, 1: 623~750nm(N2-1P), 2:762nm, 3:630nm, 4: 557.7nm, 5: 427.8nm, 6: open
MCP_HV	High voltage setting of the MCP used by imager	High voltage setting used by MCP (micro-channel plate), this setting is directly associated with the gain of the image intensification	volt
PHOSPHOR_HV	High voltage setting of the phosphor used by imager	High voltage setting used by phosphor, this setting is directly associated with the brigrtness of the phosphor screen and image background	volt
LENS_T	Imager Lens Temperature	Temp. of the imager lens	℃
FW_T	Imager Filter Wheel Temperature	Temp. of the filter wheel used by imager	℃
II_HV_T	Imager Intensifier HVPS Temperature	Imager Intensifier High-Voltage Power Supply (HVPS) Temperature	℃
PHOS_HV_T	Imager Phosphor HVPS Temperature	Imager Phosphor High-Voltage Power Supply (HVPS) Temperature	℃
CCD_T	CCD Temperature	Temp. of the imager CCD chip	℃
IMG0	[Sci. data]The 1st frame recorded by imager	The 1st frame recorded by imager, this frame is corrected on left/right bias, and column readout shift	count
IMG1	[Sci. data]The 2nd frame recorded by imager	The 2nd frame recorded by imager, this frame is corrected on left/right bias, and column readout shift	count
IMG2	[Sci. data]The 3rd frame recorded by imager	The 3rd frame recorded by imager, this frame is corrected on left/right bias, and column readout shift	count
IMG3	[Sci. data]The 4th frame recorded by imager	The 4th frame recorded by imager, this frame is corrected on left/right bias, and column readout shift	count
IMG4	[Sci. data]The 5th frame recorded by imager	The 5th frame recorded by imager, this frame is corrected on left/right bias, and column readout shift	count
IMG5	[Sci. data]The 6th frame recorded by imager	The 6th frame recorded by imager, this frame is corrected on left/right bias, and column readout shift	count
SPF_NSAMPLES	SP N samples/readout	number of the total readout SP sampling, sampling rate is fixed at 10 khz	samples
SPF_NPOST	SP N post trigger samples	number of the SP sampling after trigger, sampling rate is fixed at 10 khz	samples
HV1	SP photometer 1 high-voltage setting	the high-voltage setting of the SP photometer 1(150-280nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
HV2	SP photometer 2 high-voltage setting	the high-voltage setting of the SP photometer 2(337.0nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
HV3	SP photometer 3 high-voltage setting	the high-voltage setting of the SP photometer 3(391.4nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
HV4	SP photometer 4 high-voltage setting	the high-voltage setting of the SP photometer 4(624-750nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
HV5	SP photometer 5 high-voltage setting	the high-voltage setting of the SP photometer 5(777.4nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
HV6	SP photometer 6 high-voltage setting	the high-voltage setting of the SP photometer 6(250-390nm), this setting is equivalent to the gain of the photomultiplier tube (PMT)	volt
FILT1TEMP	SP photometer 1 filter Temperature	The filter temp. of the SP photometer 1	℃
FILT2TEMP	SP photometer 2 filter Temperature	The filter temp. of the SP photometer 2	℃
FILT3TEMP	SP photometer 3 filter Temperature	The filter temp. of the SP photometer 3	℃
FILT4TEMP	SP photometer 4 filter Temperature	The filter temp. of the SP photometer 4	℃
FILT5TEMP	SP photometer 5 filter Temperature	The filter temp. of the SP photometer 5	℃
FILT6TEMP	SP photometer 6 filter Temperature	The filter temp. of the SP photometer 6	℃
HVPS1TEMP	SP HVPS 1 Temperature	The temp. of the SP high-voltage power supply 1 (SP1-3)	℃
HVPS2TEMP	SP HVPS 2 Temperature	The temp. of the SP high-voltage power supply 2 (SP4-6)	℃
BODYLEFTTEMP	SP Body Left Temperature	SP Body Left Temperature	℃
BODYRIGHTTEMP	SP Body Right Temperature	SP Body Right Temperature	℃
SPF_CH1	[Sci. data] SP photometer 1 data	the science data of the SP photometer 1(150~280nm), sampling rate: 10 kHz	count
SPF_CH2	[Sci. data] SP photometer 2 data	the science data of the SP photometer 2(337.0nm), sampling rate: 10 kHz	count
SPF_CH3	[Sci. data] SP photometer 3 data	the science data of the SP photometer 3(391.4nm), sampling rate: 10 kHz	count
SPF_CH4	[Sci. data] SP photometer 4 data	the science data of the SP photometer 4(624-750nm), sampling rate: 10 kHz	count
SPF_CH5	[Sci. data] SP photometer 5 data	the science data of the SP photometer 5(777.4nm), sampling rate: 10 kHz	count
SPF_CH6	[Sci. data] SP photometer 6 data	the science data of the SP photometer 6(250-390nm), sampling rate: 10 kHz	count
APS_NSAMPLES	AP N samples/readout	number of the total readout AP sampling, sampling rate is variable and refers to APS_RATE	samples
APS_NPRE	AP N Pre trigger samples	number of the AP sampling before trigger, sampling rate is variable and refers to APS_RATE	samples
APS_NPOST	AP N post trigger samples	number of the AP sampling after trigger, sampling rate is variable and refers to APS_RATE	samples
APS_HV1	AP blue band HV Voltage	the high-voltage setting of the AP blue band (1-16), this setting is equivalent to the gain	volt
APS_HV2	AP red band HV Voltage	the high-voltage setting of the AP red band (17-32), this setting is equivalent to the gain	volt
PM1_T	AP PM1 Room Temp.	The temp. of the AP room 1 (Blue band, Ch. 1-16)	℃
PM2_T	AP PM2 Room Temp	The temp. of the AP room 2 (Red band, Ch. 17-32)	℃
APS_CH1	[Sci. data] AP channel 1 data	AP channel 1 science data (blue band 370-450 nm)	count
APS_CH2	[Sci. data] AP channel 2 data	AP channel 2 science data (blue band 370-450 nm)	count
APS_CH3	[Sci. data] AP channel 3 data	AP channel 3 science data (blue band 370-450 nm)	count
APS_CH4	[Sci. data] AP channel 4 data	AP channel 4 science data (blue band 370-450 nm)	count
APS_CH5	[Sci. data] AP channel 5 data	AP channel 5 science data (blue band 370-450 nm)	count
APS_CH6	[Sci. data] AP channel 6 data	AP channel 6 science data (blue band 370-450 nm)	count
APS_CH7	[Sci. data] AP channel 7 data	AP channel 7 science data (blue band 370-450 nm)	count
APS_CH8	[Sci. data] AP channel 8 data	AP channel 8 science data (blue band 370-450 nm)	count
APS_CH9	[Sci. data] AP channel 9 data	AP channel 9 science data (blue band 370-450 nm)	count
APS_CH10	[Sci. data] AP channel 10 data	AP channel 10 science data (blue band 370-450 nm)	count
APS_CH11	[Sci. data] AP channel 11 data	AP channel 11 science data (blue band 370-450 nm)	count
APS_CH12	[Sci. data] AP channel 12 data	AP channel 12 science data (blue band 370-450 nm)	count
APS_CH13	[Sci. data] AP channel 13 data	AP channel 13 science data (blue band 370-450 nm)	count
APS_CH14	[Sci. data] AP channel 14 data	AP channel 14 science data (blue band 370-450 nm)	count
APS_CH15	[Sci. data] AP channel 15 data	AP channel 15 science data (blue band 370-450 nm)	count
APS_CH16	[Sci. data] AP channel 16 data	AP channel 16 science data (blue band 370-450 nm)	count
APS_CH17	[Sci. data] AP channel 17 data	AP channel 17 science data (red band 530-650 nm)	count
APS_CH18	[Sci. data] AP channel 18 data	AP channel 18 science data (red band 530-650 nm)	count
APS_CH19	[Sci. data] AP channel 19 data	AP channel 19 science data (red band 530-650 nm)	count
APS_CH20	[Sci. data] AP channel 20 data	AP channel 20 science data (red band 530-650 nm)	count
APS_CH21	[Sci. data] AP channel 21 data	AP channel 21 science data (red band 530-650 nm)	count
APS_CH22	[Sci. data] AP channel 22 data	AP channel 22 science data (red band 530-650 nm)	count
APS_CH23	[Sci. data] AP channel 23 data	AP channel 23 science data (red band 530-650 nm)	count
APS_CH24	[Sci. data] AP channel 24 data	AP channel 24 science data (red band 530-650 nm)	count
APS_CH25	[Sci. data] AP channel 25 data	AP channel 25 science data (red band 530-650 nm)	count
APS_CH26	[Sci. data] AP channel 26 data	AP channel 26 science data (red band 530-650 nm)	count
APS_CH27	[Sci. data] AP channel 27 data	AP channel 27 science data (red band 530-650 nm)	count
APS_CH28	[Sci. data] AP channel 28 data	AP channel 28 science data (red band 530-650 nm)	count
APS_CH29	[Sci. data] AP channel 29 data	AP channel 29 science data (red band 530-650 nm)	count
APS_CH30	[Sci. data] AP channel 30 data	AP channel 30 science data (red band 530-650 nm)	count
APS_CH31	[Sci. data] AP channel 31 data	AP channel 31 science data (red band 530-650 nm)	count
APS_CH32	[Sci. data] AP channel 32 data	AP channel 32 science data (red band 530-650 nm)	count
APS_RATE	AP sampling rate code	AP sampling rate at each data point, 0: 200 Hz, 1: 2 kHz, 2: 20 kHz
IMG_AMP_BIAS	Bias difference of images	Bias difference between left and right half of the imager caused a two-channel reaout	count
SAT_LON	Longitude of the FS2 satellite	Longitude of the FS2 satellite, plus for east and minus for west	degree
SAT_LAT	Latitude of the FS2 satellite	Latitude of the FS2 satellite, plus for north and minus for south	degree
SAT_ALT	Altitude of the FS2 satellite	Altitude of the FS2 satellite above sea level	meter
GPS_SHIFT	time shift caused by GPS synchronization	time shift caused by GPS synchronization	millisecond
CLK_SHIFT	time shift caused by clock drift	time shift caused by the drift of the clock crystal oscillator	millisecond
ORB_IDX	orbit number since launch	orbit number since launch	orbit
TLE_DB_IDX	Index in TLE DB	Index in TLE database

EPOCH_1	axis for APS_CHx data
EPOCH_2	axis for SPF_CHx data

HEIGHT	y-axis for IMGx data
WIDTH	x-axis for IMGx data

Remark
CDF epoch: the number of milliseconds since 01-Jan-0000 00:00:00.000