ESA Level 2 Data Processing History

This web page contains significant dates for changes in the software and mastercdfs that are used to create THEMIS Level 2 data files for the ESA (Electrostatic Analyzer) instrument.

Dates for reprocessing of ESA L2 files are included.

Files thx_l2_esa_yyyymmdd_v01.cdf  (where x = a,b,c,d or e):

Processing     Comments

Date

2007-06-15:  ESA L2 files contain full, reduced and burst energy flux spectrograms.

2007-09-11:  Reprocessed all L2 files to clean out bad files. No change in ESA variables.

2007-09-17:  Version of thm_l2gen_esa that handles cases where only some ESA L0 packet data is present,

and clears ESA common blocks before processing. ESA L2 files are reprocessed.

2007-11-07:  All L2 files reprocessed due to changes in L1 state files which use improved spin calculations.

2007-11-15:  New version of thm_l2gen_esa, includes calculation of all moments, densities, temperatures and

pressures. Reprocessed all ESA L2 files.

2007-12-19:  Full reprocessing of ESA L2 files, to account for a 30% discrepancy in calibration that

Jim McFadden found and fixed at the end of November. Also includes a correction for spacecraft

potential which now comes from the on-board moments file.

2008-01-10:  Full L2 reprocessing. No changes in variables or file format.

2008-04-18:  Full L2 reprocessing for TDAS version 4.00 QA. No changes in variables, but metadata have been

substantially "beefed up", with new CATDESC tags and plot labels.

2008-05-20:  Boom deployment checks added into ESA files, ESA L2 files are reprocessed so that moments are

not present pre-boom-deployment.

2008-06-20:  Added sc_pot_source variable and attribute to ESA L2 mastercdfs. Ion moments are now included

in pre-boom-deployment files with spacecraft potential set to 0 for calculation.

2008-07-03:  Reprocessed all ESA L2 files due to changes in spacecraft potential calculations.

2008-11-04: Reprocessed ESA to add data quality flags, virtual variables and software version number.

2009-06-30: Reprocessed ESA L2 files due to incorrect processing of 88X15 solar wind electron full mode, for

THEMIS-A from 2009-02-02, for THEMIS-B from 2009-02-17, for THEMIS-C from 2009-02-18,

for THEMIS-D and E from 2009-02-13.

2009-08-25: Full ESA L2 reprocessing, to add quality flags for solar wind while not in solar wind mode, density

mismatches, and counter saturation.